## Pretreatment & Sizing
| COMMERCIAL LABS | [16 empty] | R&T LABS
| Liberec | Langweid | Panyu | Shanghai | Bangpoo | Taipei | Mumbai | Charlotte | Santa Clara | Fraijanes | San Pedro Sula | Resede | Bogota | Castelbisball | Gebze | Karachi | Lima | Panyu | Mumbai | Langweid | Panyu | Castelbisball | Lamotte | Gendorf | Charlotte | Resede | Bogota
EXHAUST
Cellulose | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  |  | X |  | X
Wool | X |  | X | X | X | X | X | X | X |  |  | X | X |  |  | X |  |  | X
Polyamid | X |  | X | X | X | X | X | X | X | X | X | X | X | [5 empty] | X |  | X
Polyacryl | X |  |  |  | X | X | X | X | X | X |  | X | X | [5 empty] | X |  | X
Polyester | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  |  | X |  | X
Special fibers | X |  |  |  | X | X | X | X | X | X | X | X | X |  |  | X |  |  | X
All Blends | X |  |  |  | X | X | X | X | X | X | X | X | X |  |  | X |  |  | X
CONTINOUS
Pad Steam | X |  | X | X | X |  | X |  |  | X |  | X | X |  |  | X |  |  | X
Cold Pad Batch | X |  | X | X | X |  | X | X | X | X | X | X | X |  |  | X |  |  | X
SIZING | [15 empty] | X

## Dyeing & Auxiliaries
| COMMERCIAL LABS | [16 empty] | R&T LABS
| Liberec | Langweid | Panyu | Shanghai | Bangpoo | Taipei | Mumbai | Charlotte | Santa Clara | Fraijanes | San Pedro Sula | Resede | Bogota | Castelbisball | Gebze | Karachi | Lima | Panyu | Mumbai | Langweid | Panyu | Castelbisball | Lamotte | Gendorf | Charlotte | Resede | Bogota
EXHAUST DYEING
Cellulose reactiv all | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  | X | X |  | X
Cellulose direct | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  |  | X |  | X
Cellulose vat | X |  | X | X | X |  | X | X | X |  |  | X | X |  |  | X |  |  | X |  | X
Wool all | X |  | X | X | X | X | X | X | X |  |  | X | X |  |  | X |  |  | X
Polyamid all | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  |  | X |  | X
Polyacryl | X |  | X | X | X | X | X | X | X | X |  | X | X |  |  | X |  |  | X |  | X
Polyester | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  | X | X |  | X
Polyester Automotiv | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X | X
Special fibers (Linen, Hemp, Cashmere, Silk etc.) | X |  | X | X | X | X | X | X | X |  |  | X | X |  |  | X |  |  | X
CO2 dyeing | [17 empty] | X
Cone / Bobine dyeing |  |  | X |  |  |  |  | X | [9 empty] | X*
Garment dyeing | [15 empty] | X
All Blends | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  | X** | X
CONTINUOUS DYEING
Cold Pad Batch (reactive) | X |  | X | X | X |  | X | X | X | X | X | X | X |  |  | X |  | X | X
Pad Thermosol (reactive, disperse, pigments) | X |  | X | X | X |  | X | X | X | X | X | X | X |  |  | X |  | X** | X
Pad Humidifix (reactive) | X |  |  |  | X |  | X | X | [9 empty] | X | X
Pad Steam | X |  | X | X | X |  | X | X |  | X |  | X | X |  |  | X |  | X | X
Pad Dry Pad Steam (vat) | X |  | X |  | X |  | X | X |  |  |  |  | X |  |  | X |  |  | X
Pad Dry Pad Steam (reactive, disperse) | X |  | X | X | X |  | X | X |  | X |  |  | X |  |  | X |  | X | X
Overflow Steam | [15 empty] | X
All Blends | X |  |  | X | X |  | X | X | X | X | X | X | X |  |  | X |  | X** | X
Formulation testing for inks acc. QC methods, all inks, all fabrics | [17 empty] | X
Formulation testing for dyes acc. QC methods, all dyes, all fabrics | [15 empty] | X |  | X
Dyeing Auxiliaries | X |  | X |  |  |  | X | [8 empty] | X
*Cone/Bobbin only for PES
** only PES/CEL/Elastane
Discussed with Eddie | X

## Printing
| COMMERCIAL LABS | [16 empty] | R&T LABS
| Liberec | Langweid | Panyu | Shanghai | Bangpoo | Taipei | Mumbai | Charlotte | Santa Clara | Fraijanes | San Pedro Sula | Resede | Bogota | Castelbisball | Gebze | Karachi | Lima | Panyu | Mumbai | Langweid | Panyu | Castelbisball | Lamotte | Gendorf | Charlotte | Resede | Bogota
Cellulose reactiv all | X |  | X | X | X |  | X | X |  |  |  | X | X |  |  | X
Cellulose direct | X |  |  | X |  |  | X |  |  |  |  | X | X
Cellulose vat | X |  |  |  | X |  |  | X |  |  |  | X | X
Wool all | X |  |  | X |  |  | X | X
Polyamid all | X |  | X | X |  |  | X | X |  |  |  | X | X
Polyacryl | X |  |  | X |  |  | X | X |  |  |  | X | X
Polyester | X |  | X | X | X |  | X | X |  |  |  | X | X |  |  | X
Polyester Automotiv | X |  | X | X |  |  | X | X |  |  |  | X | X
Special fibers | X |  |  | X |  |  |  | X |  |  |  | X | X |  |  | X
All Blends | X |  |  | X | X |  | X | X |  |  |  | X | X |  |  | PES/CT
InkJet | [15 empty] | X |  | X
Camouflage | X |  |  |  | X |  |  | X | [7 empty] | X

## Finishing & Coating
| COMMERCIAL LABS | [16 empty] | R&T LABS
| Liberec | Langweid | Panyu | Shanghai | Bangpoo | Taipei | Mumbai | Charlotte | Santa Clara | Fraijanes | San Pedro Sula | Resede | Bogota | Castelbisball | Gebze | Karachi | Lima | Panyu | Mumbai | Langweid | Panyu | Castelbisball | Lamotte | Gendorf | Charlotte | Resede | Bogota
Padding | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  |  | X | X | X
Foam Coating |  | X |  |  |  |  | X | [8 empty] | X
Crashed Foam Coating |  | X |  |  |  |  | X
Paste Coating |  | X | X |  |  |  | X | X |  |  |  | X | X |  |  | X
Padding on one side (Pflatschen) |  | X |  |  | X
Pretreatment by Plasma
Exhaust | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  |  | X | X | X

## Fastness testing
|  |  | COMMERCIAL LABS | [16 empty] | R&T LABS
ID | Method | Norm | Liberec | Langweid | Panyu | Shanghai | Bangpoo | Taipei | Mumbai | Charlotte | Santa Clara | Fraijanes | San Pedro Sula | Resede | Bogota | Castelbisball | Gebze | Karachi | Lima | Panyu | Mumbai | Langweid | Panyu | Castelbisball | Lamotte | Gendorf | Charlotte | Resede | Bogota
157 | Acid hydrolyses react.dyes 6 h 37°C | Huntman-Intern | X |  | X |  |  |  | X | X | [9 empty] | X
265 | Acid hydrolyses react.dyes 16 h 37°C | Huntman-Intern | X |  | X |  |  |  | X | X | [9 empty] | X
112 | Acid milling, mild | IS0 105-E14 | X | [5 empty] | X | [10 empty] | X
113 | Acid milling, severe | IS0 105-E13 | X | [5 empty] | X | [10 empty] | X
100 | Acid spotting, acetic acid | IS0 105-E05 | X |  | X | X |  |  | X | [10 empty] | X
101 | Acid spotting, sulphuric acid | IS0 105-E05 | X |  |  | X |  |  | X | [10 empty] | X
102 | Acid spotting, tartaric acid | IS0 105-E05 | X |  |  | X |  |  | X | [10 empty] | X
110/111 | Alkaline milling severe /mild | IS0 105-E12 | X |  | X | X |  |  | X | [10 empty] | X
103 | Alkaline spotting | IS0 105-E06 | X |  |  | X |  |  | X | [10 empty] | X
138 | Carbonizing AlCl3 | IS0 105-X01 | [17 empty] | X
139 | Carbonizing H2SO4 | IS0 105-X02 | [6 empty] | X | [10 empty] | X
94 | Chlor. water 100mg/l | M&S C37 = IS0 105-E03 | X |  | X | X |  |  | X |  |  |  | X | X | X |  |  | X |  | X
95 | Chlorinated water 10mg/l Cl | M&S C12A / based on ISO 105-E03 | X |  | X | X |  |  | X | X |  |  | X | X | X |  |  | X |  | X
91 | Chlorinated water 20mg/l Cl | IS0 105-E03 | X |  | X | X |  |  | X | X |  |  | X | X | X |  |  | X |  | X
92 | Chlorinated water 50mg/l Cl | IS0 105-E03 | X |  | X | X |  |  | X | X |  |  | X | X | X |  |  | X |  | X
22 | Chlorinated water 10mg/l Cl , mild | JIS L0884 |  |  | X | X |  |  | X | X | [9 empty] | X
23 | Chlorinated water 10mg/l Cl , severe | JIS L0884 | [6 empty] | X | X | [9 empty] | X
146 | Cross-dyeing: Wool, acetic acid | IS0 105-X07 | X |  | X | X |  |  | X | [10 empty] | X
145 | Cross-dyeing: Wool, neutral | IS0 105-X07 | X |  | X | X |  |  | X | [10 empty] | X
147 | Cross-dyeing: Wool, sulphuric acid | IS0 105-X07 | X |  | X | X |  |  | X | [10 empty] | X
| Decatizing mild | IS0 105-E10
| Decatizing severe | IS0 105-E10
85 | Dry cleaning perchloro ethylene | IS0 105-D01 | X | [5 empty] | X | [8 empty] | X |  | X
84 | Dry cleaning | M&S C5 | X | [5 empty] | X | [10 empty] | X
128 | Dry heat fastness 30" 150°C | IS0 105-P01 | X |  | X | X |  | X | X | X |  |  | X | X | X |  |  | X |  | X
233 | Dry heat fastness 30" 165°C | IS0 105-P01 | X |  | X | X |  | X | X | X |  |  | X | X | X |  |  | X |  | X
129 | Dry heat fastness 30" 180°C | IS0 105-P01 | X |  | X | X |  | X | X | X |  |  | X | X | X |  |  | X |  | X
130 | Dry heat fastness 30" 210°C | IS0 105-P01 | X |  | X | X |  | X | X | X |  |  | X | X | X |  |  | X |  | X
152 | Hot pressing , wet | IS0 105-X11 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X |  | X
151 | Hot pressing, damp | IS0 105-X11 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | x |  | X
150 | Hot pressing, dry | IS0 105-X11 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | x |  | X
153 | Hot pressing | M&S C13 | X |  |  |  | X |  | X | [8 empty] | x |  | X
105 | Hot water 70°C | IS0 105-E08 | X |  | X | X |  |  | X | [10 empty] | X
159 | Hydrolyses of reactive dyes | M&S C11 | X |  | X | X |  |  | X | [10 empty] | X
120 | Hypochlorite bleach | IS0 105-N01 | X |  | X | X |  |  | X | X |  |  |  | X | X |  |  | X |  | X
39 | Household machine wash 1x __°C | Huntman-Intern | X | [5 empty] | X | X |  | X | [5 empty] | x
40 | Household machine wash 5x __°C | Huntman-Intern | X | [5 empty] | X | X |  | X | [5 empty] | x | [5 empty] | => diese Zeile würde ich löschen
140 | Mercerising | IS0 105-X04 | X | [14 empty] | P |  | X
141 | Mercerising for reactive dyes | IS0 105-X04 | X | [14 empty] | P |  | X
149 | Migration of dyes into PVC | IS0 105-X10 | X |  | X | X |  |  | X | [8 empty] | X |  | X
115 | Nitric oxides 1 cycle | AATCC 164 = IS0 105-G04 | [7 empty] | X | [9 empty] | X
230 | Nitric oxides 2 cycles | AATCC 164 = IS0 105-G04 | [7 empty] | X | [9 empty] | X
231 | Nitric oxides 3 cycles | AATCC 164 = IS0 105-G04 | [7 empty] | X | [9 empty] | X
| Nitric oxides 1-X cycles | IS0 105-G01 | X
142 | Organic solvents, perchloro ethylene | IS0 105-X05 | X | [5 empty] | X | [10 empty] | X
| Ozon 1 cycle | AATCC 129 = IS0 105-G03 |  |  | X
| Ozon 2 cycles | AATCC 129 = IS0 105-G03 |  |  | X
| Ozon 3 cycles | AATCC 129 = IS0 105-G03 |  |  | X
273 | Perborate fastness | M&S C10 | X | [5 empty] | X |  |  |  |  | X | X |  |  |  |  | X
121 | Peroxide bleach, bath 1 | IS0 105-N02 | X |  | X |  |  |  | X |  |  |  |  | X | X |  |  | X |  | X
122 | Peroxide bleach, bath 2 | IS0 105-N02 | X |  | X |  |  |  | X |  |  |  |  | X | X |  |  | X |  | X
123 | Peroxide bleach, bath 3 | IS0 105-N02 | X |  | X |  |  |  | X |  |  |  |  | X | X |  |  | X |  | X
96 | Perspiration, acid | IS0 105-E04 | X |  | X | X | X |  | X | X |  |  |  | X | X |  |  | x |  | X | X
97 | Perspiration, alkaline | IS0 105-E04 | X |  | X | X | X |  | X | X | [7 empty] | x |  | X | X
98 | Perspiration, acid | M&S C7 | X |  | X | X |  |  | X | X | [7 empty] | X |  | X | X
99 | Perspiration, alkaline | M&S C7 | X |  | X | X |  |  | X | X | [7 empty] | X |  | X | X
217 | Pleating 15min 121°C | M&S C14 | X | [16 empty] | X
106 | Potting | IS0 105-E09 | X |  |  | X |  |  | X | [10 empty] | X
77 | Oxidative Bleach Damage 50°C | M&S C10A new | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X |  | X
33 | Oxidative Bleach Damage 60°C | IS0 105-C09 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X |  | X
154 | Rubbing, dry | IS0 105-X12 | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  | X |  |  | X
155 | Rubbing, wet | IS0 105-X12 | X | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X |  | X |  |  | X
| Rubbing, dry | M&S C8 | X | X | X | X |  |  | X | X
| Rubbing, wet | M&S C8 | X | X | X | X |  |  | X | X |  |  |  | X | X
90 | Sea water | IS0 105-E02 | X |  | X | X |  |  | X | X | [7 empty] | X |  | X
170 | Shampoo for Carpets | BS1006-TB=IWS TM 233 | X |  |  | X |  |  | X | [10 empty] | X
144 | Soda boiling with oxidising agent | IS0 105-X06 | X | [16 empty] | X
125 | Sodium chlorite bleach mild | IS0 105-N03 | X | [6 empty] | X | [9 empty] | X
126 | Sodium chlorite bleach severe | IS0 105-N04 | X | [6 empty] | X |  |  |  | X | X |  |  |  |  | X
104 | Spotting, water | IS0 105-E07 | X |  | X | X |  |  | X | X | [9 empty] | X
132 | Steam pleating 5 min. 108°C | IS0 105-P02 | [17 empty] | (X)
133 | Steam pleating 10 min. 115°C | IS0 105-P02 | [17 empty] | (X)
134 | Steam pleating 20 min. 130°C | IS0 105-P02 | [17 empty] | (X)
109 | Steaming 100°C | IS0 105-E11 | X | [10 empty] | X | X |  |  |  |  | (X)
1 | Wash test 1, 40°C | IS0 105-C10-1 | X |  | X | X |  |  | X | X |  |  |  | X | X |  |  |  |  | X
2 | Wash test 2, 50°C | IS0 105-C10-2 | X |  | X | X |  |  | X | X |  |  |  | X | X |  |  |  |  | X
3 | Wash test 3, 60°C | IS0 105-C10-3 | X |  | X | X | X |  | X | X |  |  |  | X | X |  |  |  |  | X
4 | Wash test 4, 95°C | IS0 105-C10-4 | X |  | X | X | X |  | X |  |  |  |  | X | X |  |  |  |  | X
5 | Wash test 5, 95°C 4 h | IS0 105-C10-5 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  |  |  | X
6 | Wash 40°C A1S* ECE 77 | IS0 105-C06 | X |  | X | X | X | X | X |  |  |  |  | X | X |  |  | X |  | X
7 | Wash 40°C A2S* ECE 77,peroxide | IS0 105-C06 | X |  | X | X | X | X | X |  |  |  |  | X | X |  |  | X |  | X
| Wash 40°C A1M, ECE 77 45 min | ISO 105-C06 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X
8 | Wash 50°C B1S* ECE 77 | IS0 105-C06 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X |  | X
65 | Wash 50°C B1M ECE 77 45’ 50st.b. | IS0 105-C06 | X |  | X | X | X |  | X |  |  |  |  | X | X |  |  | X |  | X
9 | Wash 50°C B2S* ECE 77,peroxide | IS0 105-C06 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X |  | X
177 | Wash 60°C C1S ECE 77 | IS0 105-C06 | X |  | X | X | X |  | X |  |  |  |  | X | X |  |  | X |  | X
178 | Wash 60°C C2S ECE 77,peroxide | IS0 105-C06 | X |  | X | X | X |  | X |  |  |  |  | X | X |  |  | X |  | X
| Wash 60°C C1M, ECE 77, 45 min | ISO 105-C06 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X
10 | Wash 70°C, D1S ECE 77 | ISO 105-C06 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X |  | X
| Wash 70°C, D1M, ECE 77, 45 min | ISO 105-C06 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X
11 | Wash 70°C, D2S ECE 77+ peroxide | ISO 105-C06 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X |  | X
12 | Wash 70°C D3S ECE 77, chlorine | IS0 105-C06 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X |  | X
| Wash 70°C, D3M ECE 77 + chlorine, 45 min | IS0 105-C06 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X
13 | Wash 95°C E1S ECE 77 | IS0 105-C06 | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  | X |  | X
14 | Wash 95°C E2S ECE 77,peroxide | IS0 105-C06 | X |  | X | X |  |  | X | [8 empty] | X |  | X
283 | Wash 40°C ECE 98, peroxide,TAED | IS0 105-C08 | X |  | X | X | X |  | X | [8 empty] | X |  | X
284 | Wash 50°C ECE 98, peroxide,TAED | IS0 105-C08 | X |  | X | X |  |  | X | [8 empty] | X |  | X
285 | Wash 60°C ECE 98, peroxide,TAED | IS0 105-C08 | X |  | X | X |  |  | X | [8 empty] | X |  | X
286 | Wash 95°C ECE 98, peroxide,TAED | IS0 105-C08 | X |  | X | X |  |  | X | [8 empty] | X |  | X
24 | Wash 50°C ECE 77, peroxide | M&S C4A | X |  | X | X |  |  | X | [10 empty] | X
25 | Wash 60°C ECE 77, peroxide | M&S C4A | X |  | X | X |  |  | X | [10 empty] | X
26 | Wash 95°C ECE 77, peroxide | M&S C4A | X |  | X | X |  |  | X |  |  |  |  | X | X |  |  |  |  | X
191 | Wash 40°C ADIDAS, ECE 77, liquor ratio 1:9 | ADIDAS | X |  | X | X | X |  | X |  |  | X | X | X | X |  |  |  |  | X
192 | Wash 60°C ADIDAS, ECE 77, liquor ratio 1:9 | ADIDAS | X |  | X | X |  |  | X |  |  | X | X | X | X |  |  | X |  | X
197 | Wash 1A 40°C 93-WOB | AATCC 61 | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  | X
37 | Wash 2A 49°C 93-WOB | AATCC 61 | X |  | X | X | X | X | X | X | X | X | X | X | X |  |  | X |  | X
196 | Wash 3A 71°C 93-WOB | AATCC 61 | X |  | X | X |  |  | X | X | X | X | X | X | X |  |  | X |  | X
193 | Wash 4A 71°C 93-WOB, chlorine | AATCC 61 | X |  | X | X |  |  | X | X | X |  | X | X | X |  |  | X |  | X
194 | Wash 5A 49°C 93-WOB, chlorine | AATCC 61 | X |  | X | X |  |  | X | X | X |  | X |  |  |  |  | X |  | X
| Wash 95°C, peroxide | DIN 54015 | X
| Wash 83°C, hypochlorite | DIN 54016 | X | [10 empty] | X | X
88 | Water fastness | IS0 105-E01 | X |  | X | X | X | X | X | X |  |  | X |  |  |  |  | X |  | X | X
89 | Water fastness | M&S C6 | X |  | X | X |  |  | X | X | [9 empty] | X | X
| pH-value | DIN 54276 | X |  |  |  |  | X | X | X | X | X | X | X | X |  |  | X |  |  | X
| Yellowing by James H. Heal (Courtauld's test) - phenolic yellowing | ISO 105-X18 / M&S C20B | X |  | X | X |  |  | X | [8 empty] | X |  |  | X
| Yellowing by DECATHLON test method | DS-25 | X
| Special fastness to acid residues | Huntman-Intern | X
69 | Fastness to saliva | DIN 53160-1 | X |  | X |  |  |  | X | [8 empty] | X |  | X
69 | Fastness to artificial perspiration | DIN 53160-2 | X | [5 empty] | X | [8 empty] | X |  | X
Normal Xenon Light Fastness
691 | Xenon light grading by lab | ISO 105-B02 | X |  | X | X |  |  | X | [8 empty] | X |  | X
692 | Xenon light _______________h | ISO 105-B02 | X |  | X | X |  |  | X | [10 empty] | X
591 | Xenon light 8 / 24 h (grade 3) | ISO 105-B02 | X |  | X | X |  |  | X | [10 empty] | X
593 | Xenon light 40 / 88 h (grade 5) | ISO 105-B02 | X |  | X | X |  |  | X | [10 empty] | X
594 | Xenon light 72 / 168 h (grade 6) | ISO 105-B02 | X |  | X | X |  |  | X | [10 empty] | X
596 | Xenon light 120 / 336 h (grade 7) | ISO 105-B02 | X |  | X | X |  |  | X | [10 empty] | X
597 | Xenon light 168 / 336 h | ISO 105-B02 | X |  | X | X |  |  | X | [10 empty] | X
598 | Xenon light 336 / 672 h | ISO 105-B02 | X |  | X | X |  |  | X | [10 empty] | X
555 | Xenon light 3 steps 24 / 72 / 168 h | ISO 105-B02 | X |  | X | X |  |  | X | [10 empty] | X
553 | Xenon light grade 4 (XeAlpha 16 / 40 h) | M&S C9 | X |  | X |  |  |  | X | [10 empty] | (X)
554 | Xenon light grade 6 (XeAlpha 70/100 h) | M&S C9 | X |  | X |  |  |  | X | [10 empty] | (X)
528 | Xenon light for High Visibility Yellow | EN 471 & EN1150 | X1 |  | X | X | [13 empty] | X
529 | Xenon light for High Visibility Orange / Red | EN 471 | X1 |  | X | X | [13 empty] | X
Xenon light at elevated temperature
681 | Xe-rapid light 63°C grading by lab Huntsman | Huntsman | [17 empty] | (X)
682 | Xe-rapid light 63°C ____________h Huntsman | Huntsman | [17 empty] | (X)
580 | Xe-rapid light 63°C 8 / 24 h (grade 4) Huntsman | Huntsman | [17 empty] | (X)
581 | Xe-rapid light 63°C 24 / 48 h (grade 5) Huntsman | Huntsman | [17 empty] | (X)
582 | Xe-rapid light 63°C 24 / 72 h (grade 5-6) Huntsman | Huntsman | [17 empty] | (X)
583 | Xe-rapid light 63°C 24 / 96 h (grade 6) Huntsman | Huntsman | [17 empty] | (X)
584 | Xe-rapid light 63°C 48 /168 h (grade 7) Huntsman | Huntsman | [17 empty] | (X)
503 | Xenon Südafrika-test 166h | ISO 105-B02-A2 | X | [16 empty] | X
531 | Xenon light USA 20 AFU | AATCC 16-3 |  |  | X |  |  |  | X | [10 empty] | X
532 | Xenon light USA 40 AFU | AATCC 16-3 |  |  | X |  |  |  | X | [10 empty] | X
533 | Xenon light USA 60 AFU | AATCC 16-3 |  |  | X |  |  |  | X | [10 empty] | X
530 | Xenon light USA 80 AFU | AATCC 16-3 |  |  | X |  |  |  | X | [10 empty] | X
632 | Xenon light USA _______ AFU | AATCC 16-3 | [6 empty] | X | [10 empty] | X
Xenon - Weathering (with and without spray)
523 | Weathering dry 44 h Ciba | Huntman-Intern | [17 empty] | X
623 | Weathering dry __ h Ciba | Huntman-Intern | [17 empty] | X
526 | Weathering with spray 102:18 16 h | ISO 4892-2A1/ ISO 105-B10-A | X | [16 empty] | X
524 | Weathering with spray 102:18 44 h | ISO 4892-2A1/ ISO 105-B10-A | X | [16 empty] | X
624 | Weathering with spray 102:18 __h | ISO 4892-2A1/ ISO 105-B10-A | X | [16 empty] | X
654 | Weather fastness ISO 105-B04 | ISO 105-B04 | [17 empty] | X
High Temperature Light for Automotive
501 | HL FAKRA ½ period | VDA75202/ ISO 105-B06-Opt.3 | X | [16 empty] | X
500 | HL FAKRA 1 period | VDA75202/ ISO 105-B06-Opt.3 | X | [16 empty] | X
521 | HL FAKRA 2 periods | VDA75202/ ISO 105-B06-Opt.3 | X | [16 empty] | X
538 | HL FAKRA 3 periods | VDA75202/ ISO 105-B06-Opt.3 | X | [16 empty] | X
539 | HL FAKRA 4 periods | VDA75202/ ISO 105-B06-Opt.3 | X | [16 empty] | X
540 | HL FAKRA 5 periods | VDA75202/ ISO 105-B06-Opt.3 | X | [16 empty] | X
660 | HL FAKRA _______ h / ______ per. | VDA75202/ ISO 105-B06-Opt.3 | X | [16 empty] | X
502 | HL-Volvo BST 75°C similar to AATCC 16-3 400h | STD 1027,359 | [17 empty] | X
504 | HL Renault-Peugeot 150 h | Ci3000 D47 1431 | [17 empty] | X
508 | HL Renault-Peugeot 200 h | Ci3000 D47 1431 | [17 empty] | X
509 | HL Renault-Peugeot 240 h | Ci3000 D47 1431 | [17 empty] | X
515 | HL Renault-Peugeot 300 h | Ci3000 D47 1431 | [17 empty] | X
611 | HL Japan _______ (64W/m2) | JASO M346/93 | [17 empty] | X
559 | HL Japan 72 MJ = 313h (64W/m2) | JASO M346/93 | [17 empty] | X
612 | HL Korea _______ kJ | Ci3000 Hyundai-Kia | [17 empty] | X
513 | HL Toyota 400 kJ (with glass filter) | TS L9900G |  |  | X | [14 empty] | X
514 | HL Toyota 750 kJ (with glass filter) | TS L9900G |  |  | X | [14 empty] | X
542 | HL USA 112 kJ ( 57h“light on”= 3d) | SAE J2412 (former J1885) | [17 empty] | X
527 | HL USA 225 kJ (114h“light on”= 6d) | SAE J2412 (former J1885) | [17 empty] | X
560 | HL USA 326 kJ (165h“light on”= 8.7d) | SAE J2412 (former J1885) | [17 empty] | X
543 | HL USA 488 kJ (247h“light on”=13d) | SAE J2412 (former J1885) | [17 empty] | X
561 | HL GM 903 kJ = 144h (114h“light on”) | GM 3414 | [17 empty] | X
562 | HL GM 1054 kJ = 168h (133h“light on”) | GM 3414 | [17 empty] | X
563 | HL GM 1204 kJ = 192h (152h“light on”) | GM 3414 | [17 empty] | X
564 | HL GM 1354 kJ = 216h (171h“light on”) | GM 3414 | [17 empty] | X
546 | HL Ford 451kJ = 150h (118h „light on“) | DVM-0067-MA / BO 116-01 | [17 empty] | X
547 | HL Ford 903kJ = 300h (236h „light on“) | DVM-0067-MA / BO 116-01 | [17 empty] | X
572 | Carbon arc 63°C 150h | Fiat 50451 /01 | [17 empty] | X
517 | Carbon arc 63°C 300h | Fiat 50451 /01 | [17 empty] | X
549 | HL Opel 115°C 7FG ( 60 h x 90 W/m2 = 19 MJ/m2) | GME 60292-1 | [17 empty] | (X)
Xenon light + aqueous solutions
| Wet light fastness | Huntsman internal | X | [5 empty] | X | [8 empty] | X
| Perspiration light fastness | Huntsman internal | X | [5 empty] | X | [8 empty] | X
534 | Perspiration light acid NIKE -PLF Ci35: BW4®GS4 | NIKE |  |  | X | X |  |  | X | [10 empty] | X
537 | Perspiration light alkal. NIKE -PLF Ci35: BW4®GS4 | NIKE |  |  | X | X |  |  | X | [10 empty] | X
535 | Perspiration light acid adidas AlphaXC320 BW4®GS4 | ADIDAS | X | [5 empty] | X | [10 empty] | X
536 | Perspiration light alkal. adidas AlphaXC320 BW4®GS4 | ADIDAS | X | [5 empty] | X | [10 empty] | X
519 | Xenon-wet light alkaline / perborate | M&S C9A | X |  | X |  |  |  | X | [8 empty] | X |  | X
556 | Xenon-wet light neutral 16 h | ISO 105-B04 | [17 empty] | X
507 | Colour fastness to perspiration and light | AATCC 125 |  |  | X |  |  |  | X | [10 empty] | X
X1 = in dependence to
All labs are not M&S cerified
(X) Test possible after consultation and discussion about details
All light fastness test in Basel also with variable time, other light fastness test probably possible after consultation and discussion about details
165 | Avivage fastness | SNV 95 844 | [17 empty] | X
408 | Chlorinated pool test 5 ppm Cl | AATCC 162 | [17 empty] | X
413 | Container test | GAP S1061 | [17 empty] | X
410 | Dye transfer in storage | AATCC 163 | [17 empty] | X
148 | Formaldehyde fastness | ISO 105-X09 | [17 empty] | X
124 | Peroxide bleach, bath 4 | IS0 105-N02 | X | [16 empty] | X
407 | Sea water | AATCC 106 | [17 empty] | X
143 | Soda boiling without oxidising agent | IS0 105-X06 | X | [16 empty] | X
67 | Water fastness | AATCC 107 | [17 empty] | X
71 | Industrielle Wäsche 1S 92°C | ISO/DIS 105-C12 | X | [16 empty] | X
72 | Industrielle Wäsche 2S 75°C | ISO/DIS 105-C12 | X | [16 empty] | X
73 | Industrielle Wäsche 1P 75°C H2O2 | ISO/DIS 105-C12 | X | [16 empty] | X
74 | Industrielle Wäsche 2P 75°C Percarbonat+TAED | ISO/DIS 105-C12 | X | [16 empty] | X
68 | Schweissechtheit USA | AATCC 15 | [17 empty] | X
86 | Reibechtheit Perchlorethylen - Detachur | ISO 105-D02 | X | [16 empty] | (X)
142 | Lösungsmittelechtheit Perchlorethylen | ISO 105-X05 | X | [16 empty] | X
257 | Lösungsmittelechtheit Trichlor | ISO 105-X05 | X | [16 empty] | X
258 | Lösungsmittelechtheit Tetrachlor | ISO 105-X05 | X | [16 empty] | X
259 | Lösungsmittelechtheit Benzin | ISO 105-X05 | X | [16 empty] | X
169 | Saure Wollchlorierung | ISO 105-X03 | [17 empty] | X
202 | Wäsche A-2 50°C Seife pH 8.2 | JIS L0844 | [17 empty] | X

## Mechanical technological testin
|  | COMMERCIAL LABS | [16 empty] | R&T LABS
Test | Standard | Liberec | Langweid | Panyu | Shanghai | Bangpoo | Taipei | Mumbai | Charlotte | Santa Clara | Fraijanes | San Pedro Sula | Resede | Bogota | Castelbisball | Gebze | Karachi | Lima | Panyu | Mumbai | Langweid | Panyu | Castelbisball | Lamotte | Gendorf | Charlotte | Resede | Bogota
Dry crease angle. Determination of crease recovery angle - method of horizontal fold and erected free limb on the dry sample | DIN 53890 | X | [5 empty] | X
Wet crease angle | GüTV | X | [5 empty] | X
Dry crease angle. Determination of crease recovery angle of a horizontally folded specimen | DIN EN 22313 part 1, ISO 2313 (M&S P22) | X | [5 empty] | X
Wet crease angle. Determination of crease recovery angle - wet, with vertical fold | DIN 53891 part 2 | X
Determination of crease behavior | ISO 9867 | X
Determination of crease behavior acc. to AKU test method | ISO 9867 | X
Crash method acc. to Weltzien
Swelling index, determination of water retention | DIN 53814 | X |  | X |  | X | [14 empty] | O
Abrasion resistance acc. to Martindale, determination of thread damage | DIN EN ISO 12947 part 2 | X |  | X | X |  |  | X | [8 empty] | X |  |  |  | O
Abrasion resistance acc. to Martindale, determination of weight loss | DIN EN ISO 12947 part 3 | X | [5 empty] | X | [8 empty] | O |  |  |  | O
Abrasion resistance acc. to Martindale, assessment of surface change | DIN EN ISO 12947 part 4 | X | [5 empty] | X | [8 empty] | O |  |  |  | O
Accelerotor abrasion testing, loss of weight | [16 empty] | O
Accelerotor abrasion testing, fraying of cuffs and edges of collar
Surface abrasion resp. fraying of cuffs and edges of collar
Rotary abrasion test "Schopper" (only internal test method) | DIN 53862 part 2
Rotary abrasion test "Frank-Hauser" | DIN 53528
Velcro strip fastener test, abrasion test for car upholstery |  | X | [18 empty] | O
Tear strength test, tensile test on strips of textile fabrics, determination of breaking force and elongation | DIN EN ISO 13934-1 | X |  | X | X | X |  | X | [8 empty] | X
Tear strength test, grab tensile test, determination of breaking force | DIN EN ISO 13934-2 | X |  | X |  |  |  | X | [8 empty] | X
Determination of coating adhesion | DIN EN ISO 2411
Determination of blocking resistance at heat | ISO 5978 |  | X
Yarn tear strength, determination of breaking force and elongation of yarn | DIN EN ISO 2062 | X
SAT tear strength test
Testing of tear strength loss after fraying of cuffs and edges of collar
Determination of bursting limit and burst bubble height | DIN EN ISO 19938-2 | X | [5 empty] | X | [8 empty] | O
Test of seam strength, tensile test on strips of textile fabrics | DIN EN ISO 19935-1 | [6 empty] | X | [8 empty] | O
Test of seam strength, grab tensile test | DIN EN ISO 19935-2 | [15 empty] | O
Test of seam strength, opening of seam | M&S P12 (DIN EN ISO 19936-1) | X |  | X | [12 empty] | O
Determination of tear propagation, Elmendorf | DIN EN ISO 13937-1 | X |  | X | X | X |  | X | [8 empty] | X
Determination of tear propagation of trouser-shaped test specimens | DIN EN ISO 13937-2 |  |  | X | [12 empty] | O
Determination of tear propagation, trapezoid tear strength test | DIN 53859 part 5 | [15 empty] | O
Determination of tear propagation of wing-shaped test specimens | DIN EN ISO 13937-3 | [15 empty] | O
Determination of tear propagation, tongue tear test | DIN EN ISO 13937-4
Pilling test acc. to Martindale | DIN EN ISO 12945-2 | X |  | X | X | X |  | X | [8 empty] | X |  |  |  | O
Pilling test ICI pilling test box | DIN EN ISO 12945-1 | X |  |  |  | X |  | X |  |  | X | [5 empty] | X
Snagging test
Flexometer scrubb test | DIN EN ISO 5981 |  | X
Flexometer Bally test, standard climate resp. cold chamber | DIN EN ISO 5402 |  | X
Bending rigidity, determination acc. to Schlenker | DIN 53864
Pile resistance | DIN EN ISO 5084
Air permeability | DIN EN ISO 9237 | [6 empty] | X
Water vapor permeability, Silica gel, quick test
Water vapor permeability | DIN 53122-1
Water vapor permeability, Lyssy method |  |  | X
Electrostatic charge | DIN 54345-1, DIN 1149-1 | X
Light fastness | DIN EN ISO 105 B02, B04, B06 | X | [5 empty] | X | X | [7 empty] | X
Artificial weathering | DIN EN ISO 4892-2 | X | [6 empty] | X | [7 empty] | X |  |  |  | O
Coefficient of friction of yarns | [7 empty] | X | [8 empty] | O
Determination of weight per square meter | DIN EN 965 | X | X | X | X |  |  | X | X | [7 empty] | X |  |  |  | X
Elongation test Du Pont | Du Pont | X
Testing of total elongation - dry |  | X | [14 empty] | X
Testing of remaining elongation - dry |  | X | [14 empty] | X
Testing of total elongation - wet |  | X | [14 empty] | O
Testing of remaining elongation - wet |  | X | [14 empty] | O
Stain Release Test | Teflon Spec. AATCC 130 | X |  | X | X | X | X | X | X |  | X |  | X | X |  |  | X |  |  | X | X
Stain Release Test, Tchibo, Pfersee, etc. | Tchibo | X |  | X | X |  |  | X | [8 empty] | O |  |  | X | X
Soiling of car upholstery | VW | [6 empty] | X | [8 empty] | O
Self-smoothing behavior (only assessment) | DIN EN ISO 15487 | X | [14 empty] | O
Assessment of appearance of creases after washing and drying (only assessment) | DIN EN ISO 15487 | X | [14 empty] | O
Washing acc. to definded washing program | ISO 6330, Teflon Spec. | X |  | X | X | X |  | X |  |  |  |  | X | X |  |  | X |  |  | X | X
Preparation of samples for washing |  | X | X | X | X | X |  | X |  | X |  |  | X | X |  |  | X |  |  |  | X
Determination of dimensional change (without washing) | DIN EN 25077, ISO 5077 | X |  | X | X | [11 empty] | O |  |  |  | O
Determination of dimensional change of fabrics at repeated influence of wet conditions and dry air | DIN 53892-2 | X | [5 empty] | X | [8 empty] | O
Determination of dimensional change, steaming with ironing press, shrinkage after ironing (men's wear) | DIN 53894-2 | X | [14 empty] | O
Determination of dimensional change, ironing with damp cloth on ironing press | DIN 53894-1 | X | [14 empty] | O
Determination of dimensional change, "IWS test method" | TM 31 | X | [5 empty] | X | [12 empty] | O
Teflon Spec. without washing, preparation of samples, tumbling, drying, etc. | Teflon Spec. | X | X | X | X | X | X | X | X |  |  |  | X | X | [5 empty] | X | X
Oil repellency | DIN EN ISO 14419, AATCC 118 | X | X | X | X | X | X | X | X |  | X |  | X | X |  |  | X |  |  | X | X
Oil repellency, wear resistance | Teflon Spec. | X |  | X | X | X | X | X | X | X | X |  | X | X |  |  | O |  |  | X | X
Water repellency, spray test | DIN EN 24920 | X | X | X | X | X | X | X | X |  | X |  | X | X |  |  | X |  |  | X | X | X
Water drop test, Du Pont | Teflon Spec. | X | X | X | X | X | X | X | X | X | X |  | X | X |  |  | O |  |  | X | X
Rain tester acc. to Dr. Bundesmann | DIN EN 29865 | X | X | [13 empty] | O |  |  | X | X | X
Water pressure test "Schopper" | DIN EN 20811 | X | [18 empty] | X
Water pressure test "Textest" | DIN EN 20811 | X | X |  | X | [15 empty] | X
Determination of water absorption | DIN 53923 | X | X | [13 empty] | O |  |  |  | X
Hydorphilic properties, rewetting behavior |  | X | [5 empty] | X | X | [11 empty] | X
Dry soiling | Teflon Spec. | X |  | X | X | X | X | X | X |  |  |  | X | X | [5 empty] | X | X
Dry cleaning | DIN EN ISO 3175-2 | X | [5 empty] | X | [8 empty] | O
Alcohol repellent properties (nonwovens) | WSP 80.8 | X | X | X | X |  |  | X | X | X | [10 empty] | X
Oil repellency (nonwovens) | WSP 80.7 | X | X | X | X |  |  |  | X | [7 empty] | O |  |  | X | X
Wicking test, determination of rate of wicking | DIN 53923 | X | [5 empty] | X | X |  |  |  | X | X |  |  | O |  |  | X | X
3XDRY |  | X | X | X | X | X |  |  | X |  | X |  | X | X | [6 empty] | X
Appearance of fabrics after repeated home laundering ( DP rating) | AATCC 124 | X |  | X | X | X |  | X |  |  |  |  | X | X |  |  | X |  |  | X | O
Tegewa Drop Test | TEGEWA | X |  | X | X | X |  | X |  | X |  |  | X | X |  |  | X |  |  | X | X
Determination of resistance to liquid chemicals | ISO 6530 | X | [5 empty] | X |  |  |  |  | X | X | [6 empty] | X
Test methods and performance classification of chemical protective clothing | ISO 14325 | [19 empty] | X
Determination of dimensional stability | ISO 3759 | X |  | X | X |  |  | X |  |  | X | [5 empty] | X
Formaldehyde content | ISO 14184-1 | X |  | X | X | X |  | X | [8 empty] | X |  |  |  | X | X
Seam slippage - fixed load method | ISO 13936-2 | X | [14 empty] | O
Measurement of IR (camouflage) |  | X | [6 empty] | X
Determination of UPF - rating of the fabric | acc.AS/NZS 4399 | X |  | X | X | X |  | X | X
Determination of porosity of fabric |  | X |  | X |  | X |  | X
Corrosion test |  |  | X | [13 empty] | X
Hydrolyisis resistance (e.g. 70°C 95% rel. Hum.) |  |  | X
cold flexibility (down to -40°C) |  |  | X
edge abrasion |  |  | X | [13 empty] | O
natural weathering |  |  | X | [13 empty] | X
roller build up test |  |  | X
Water tightness for roofing | EN 1928 |  | X | [13 empty] | O
O = Equipment available but limited Lab resources

## Analytical
|  |  |  | COMMERCIAL LABS | [16 empty] | R&T LABS
ID | Method | Regulation | Norm | Liberec | Langweid | Panyu | Shanghai | Bangpoo | Taipei | Mumbai | Charlotte | Santa Clara | Fraijanes | San Pedro Sula | Resede | Bogota | Castelbisball | Gebze | Karachi | Lima | Panyu | Mumbai | Langweid | Panyu | Castelbisball | Lamotte | Gendorf | Charlotte | Resede | Bogota
1 | analyse of deposits | extraction / IR / GC-MS |  | X | [14 empty] | X |  | X | X | X | X
166 | waste water - volatile solvent | GC-MS /Headspace | [18 empty] | (X) | X | X | X
2 | acrylamide | HPLC | [16 empty] | X |  | X | X | X | X
167 | acrylnitrile | GC-MS /Headspace | [20 empty] | X
121 | alkali solubility | extraction / oven-dry mass | DIN 54281/280 | X | [18 empty] | X
3 | number of amine | potentiometric titration | [20 empty] | X
4 | amylase | color balance | NOVO | [19 empty] | X
5 | colouration-method | red-green, scarlet red , silver diamine | [20 empty] | X
6 | colouration-method | types of Neocarmine-Oxicarmine-Rhodamine B |  | X | [18 empty] | X
7 | colouration-method | lactophenol-cotton blue | [20 empty] | X
8 | anion | ionic chromatography | [18 empty] | X | X | X
143 | antioxidant | extraction / GC/MS | [18 empty] | X | X | X | X
10 | analyse of finishing | extractions/IR/GC-MS (petroleum,methanol,water) | [16 empty] | X |  |  | X | X | X
145 | determination of arsenic | ICP-OES | [18 empty] | X | X | X
11 | digestion (microwave) | microwave different acids and basis | [16 empty] | X |  | X | X | X
12 | digestion (Schoeninger) | Schoeninger | [20 empty] | X
13 | number of barite | titrimetric analysis |  | X | [18 empty] | X
14 | analyse of coating | pyrolisis-GC/MS/IR/ICP-OES /TLC/extractions | [20 empty] | X
138 | determination of perfluoroalkyljodide | extraction /GC | [20 empty] | X
172 | boricoxide of polymer bitumen roof sheeting | titration | [20 empty] | X
X | bromine | IC after digestion | [18 empty] | X |  | X
164 | butanonoxime | GC-MS | [18 empty] | X |  | X | X
16 | calcium on textiles | IC | [18 empty] | X | X | X
18 | carbazole | wetchemical | [20 empty] | X
174 | COPS | GC/irradiation | [20 empty] | X
158 | determination of cyclodextrine | UV | [20 empty] | X | X
183 | Deltamethrine | HPLC | [20 empty] | X
185 | determination of densitiy |  |  |  |  | X | [8 empty] | X | X | [6 empty] | X | X
165 | Diethylenetriamine | GC | [18 empty] | X |  | X | X
112 | DMMP | GC | [18 empty] | X |  | X
19 | DP (DIN 54270) |  | DIN 54270/Teil 4 | [19 empty] | X
20 | DP (SNV 195 598) |  | SNV 195 598 | X | [18 empty] | X
X | DSC-thermoanalysis | [19 empty] | X |  | X | X
152 | DSC-thermoanalysis automated | [19 empty] | X |  | X | X
177 | DSC-Thermoanalysis DIN 53765 | [21 empty] | X | X
X | analysis of scents | GC-MS /Headspace | [18 empty] | X | X | X | X
21 | thin-layer chromatography | different flux material , TLC-plates, spray reagent |  | X | [6 empty] | X | [9 empty] | X |  | X | X
22 | evaluation of fastness | fastness to salvia and prespiration | DIN 53160 | X | [5 empty] | X | [10 empty] | X |  | X
23 | evaluation of fastness (DIN 54016) | fastness to washing with hypochlorite | DIN 54016 | X | [5 empty] | X | [12 empty] | X
X | evaluation of fastness (DIN EN ISO 105-E04) | colourfastness on perspiration | DIN EN ISO 105-E04 | X |  | X | X | [13 empty] | X |  | X
120 | simple development of a new method | [17 empty] | X |  | X | X | X | X
119 | determination of iron ( semiquantitative) | wetchemical | [16 empty] | X |  |  |  | X | X
146 | determination of elements (ICP-OES) per Element | ICP-OES | [16 empty] | X |  | X | X | X
147 | extraction qualitative + quantitative per solvent | extraction , IR |  | X | [6 empty] | X | [7 empty] | X |  |  | X | X | X
X | extraction qualitative | IR, ionic character |  | X | [16 empty] | X | X | X | X
128 | extractions quanti. (per solvent ) | petroleum, dichlormethane, methanol,acetone |  | X |  | X | [12 empty] | X |  |  | X | X | X
26 | fiber analysis (DIN 53856) | determination of weight proportion (warp,weft) | DIN 53856 | [12 empty] | X | [6 empty] | X
27 | fiber analysis (DIN 54201) | quantitative determination | DIN 54201 | [12 empty] | X | [6 empty] | X
28 | fiber analysis (DIN 54204) | potassium hydroxide procedure | DIN 54204 | [19 empty] | X
29 | fiber analysis (DIN 54205) | sulfuric acid procedure | DIN 54205 | [12 empty] | X | [6 empty] | X
30 | fiber analysis (DIN 54206) | hypochlorite procedure | DIN 54206 | [12 empty] | X | [6 empty] | X
31 | fiber analysis (DIN 54208) | formic acid -zinc chloride procedure | DIN 54208 | [12 empty] | X | [6 empty] | X
32 | fiber analysis (DIN 54210) | acetone procedure | DIN 54210 | [12 empty] | X | [6 empty] | X
33 | fiber analysis (DIN 54211) | dichlormethane- procedure | DIN 54211 | [19 empty] | X
34 | fiber analysis (DIN 54217) | dimethylformamide procedure | DIN 54217 | [12 empty] | X | [6 empty] | X
35 | fiber analysis (DIN 54218) | acetic acid procedure | DIN 54218 | [19 empty] | X
36 | fiber analysis (DIN 54220) | formic acid procedureAmeisensäureverfahren | DIN 54220 | [19 empty] | X
37 | fiber analysis (DIN 54221) | hydrochloric acid procedure | DIN 54221 | [19 empty] | X
38 | fiber analysis TI Bielefeld | instructions of Textilinstitut Bielefeld | [20 empty] | X
114 | fiber separation (lluoroisopropanol) | [21 empty] | X
39 | flashing point | [17 empty] | X |  |  |  | X
40 | analysis of spots on textiles | IR/GC-MS/extraktions/TLC |  | X | [6 empty] | X | [9 empty] | X | X | X | X
41 | total- fluorine | IC / digestion | [18 empty] | (X) |  | X
135 | FOG-determination | GC-MS | [20 empty] | X
43 | fogging (DIN 75201) | [9 empty] | X | [11 empty] | X
179 | fogging procedure A | DIN 75201 | [8 empty] | X | [11 empty] | X
181 | fogging procedure B | DIN 75201 | [8 empty] | X | [11 empty] | X
44 | formaldehyde (AATCC) | photometric |  |  |  | X | X | [11 empty] | X |  | X | X | X | X
45 | formaldehyde (japanese) | photometric |  | X |  | X | X | [11 empty] | X |  |  | X | X | X
46 | formaldehyde (shirley) | photomertic | [20 empty] | X | X
176 | formaldehyde free ( THPC / prepolymere) | GC-MS / Headspace | [20 empty] | X
126 | formaldehyde- total | [21 empty] | X | X
132 | formaldehyde (VDA 275) | photometric | VDA 275+ DIN EN 322 | [19 empty] | X
47 | formaldehyd-free (de Jong) | titration | [20 empty] | X
48 | documentation ( microskopy) | fiber,tendering.... | [20 empty] | X
50 | analysis of GC/MS | GC/MS-HP5971 i | [18 empty] | X | X | X | X
X | analysis of GC | (internal instructions) | [18 empty] | X | X | X | X
130 | gloss value | DIN 67530 | [20 empty] | X
51 | GPC | molecular weight distribution | [18 empty] | (X) | X | X | X
52 | HPLC-measurement | [17 empty] | X |  | X | X | X | X
122 | test of hydrophilizing with hydrofluoric acid | [21 empty] | X
53 | hydroxyl number | potentiometric | [18 empty] | X |  | X | X
127 | IC | [19 empty] | X | X | X
54 | ionic character | wetchemical |  | X | [16 empty] | X | X | X | X
55 | infrared- spectroscopy | IR |  | X | [14 empty] | X |  | X | X | X | X
56 | catalase aktivity | UV-spectorscopy | NOVO | [19 empty] | X
57 | cation (IC) | IC Dionex | [18 empty] | X |  | X
187 | contactangle | tensiometer | [19 empty] | X | X
163 | vat dyestuff | [19 empty] | X |  | X
58 | conductivity DIN 53779 |  | DIN 53779 | X | [10 empty] | X |  |  |  | X |  |  |  | X | X
154 | lignin quantitative |  | ASTM-D 1106-96 | [19 empty] | X
59 | magnesium on textil | IC | [18 empty] | X |  | X
60 | Methanolgehalt (GC) | GC | [18 empty] | X | X | X | X
153 | complex development of an new method | [19 empty] | X | X | X | X
61 | microscopy (fiber analysis ) | fiber analysis |  | X | [7 empty] | X | [9 empty] | X | X | X
62 | microscopy (fiber cross-section) | fiber cross-section |  | X | [18 empty] | X | X
63 | microscopy | immaturity control by swelling test ,dyeing,detail photos |  | X | [14 empty] | X |  |  |  | X | X
64 | natrium on textil | IC | [18 empty] | X |  | X
65 | nitrate | IC | [18 empty] | X |  | X
66 | NMR (13C/ 1H) | NMR ( Bruker) | [18 empty] | X |  | X
67 | NMR (31P/29SI) | NMR (Bruker) | [20 empty] | X
68 | nonylphenol | HPLC | [16 empty] | X |  |  | X | X | X
170 | surface tension | tensiometer | [12 empty] | X | [7 empty] | X | X
168 | surface tension products | tensiometer | [20 empty] | X
169 | surface tension textils | tenisometer | [20 empty] | X
69 | OITZ | HPLC 2H-isothiazoline-3-one( 2-Octyl)- | [18 empty] | X |  | X
70 | oxid ash | gravimetric | [20 empty] | X
160 | permethrine | HPLC | [20 empty] | X
71 | extraction with petroleum quali. and quanti. | extraction , IR |  | X | [6 empty] | X | [11 empty] | X | X
151 | PFOA | GC-MS | [19 empty] | X | X
123 | determination of phenol | HPLC | [16 empty] | X |  | X | X | X | X
74 | total phosphor (photometry) | digestion , photometry | [20 empty] | X
137 | phosphor (ICP-OES) | ICP-OES | [18 empty] | X | X | X
113 | pH-control products |  |  | X | [5 empty] | X |  | X |  |  | X | X |  |  |  |  | X | X | X | X
72 | pH-control of textiles (DIN 54275) |  | DIN 54275 | X | [5 empty] | X | [10 empty] | (X) |  | X
73 | pH-control of textiles (DIN EN ISO 3071) | water solution | DIN EN ISO 3071 | X |  | X | X |  |  | X |  | X |  |  | X | X |  |  |  |  | (X) | X | X
75 | preventol GD | [21 empty] | X
76 | preventol VCOC | photometry | [20 empty] | X
77 | analysis of products | IR/GC-MS/NMR/wet chemical ,pH, solids ..... |  | X |  |  |  | X | [10 empty] | X |  |  | X | X | X
125 | determination of pseudomonas | agars | [20 empty] | X
78 | pyrolyse GC/MS | [20 empty] | X | X
173 | detection of chlorine (qualitative) |  | Merck | [18 empty] | X | X | X
161 | detection of chlorine (qualitative) | copper wire | [19 empty] | X | X
148 | reflectance curve |  |  | X |  | X | X |  |  | X |  | X | [10 empty] | X
80 | residual fat content on textiles | extraction |  | X |  | X |  |  |  |  | X |  |  |  | X | X |  |  | X |  |  |  | X | X
81 | residual of substances on textiles | extraction |  | X | [6 empty] | X | [10 empty] | X | X
82 | hydrochloric acid soluble fractions | [21 empty] | X
83 | acid number | potentiometic titration | [18 empty] | X |  | X | X
84 | tendering (DIN 54279) | urea bisulphite solubility | DIN 54279 | X | [18 empty] | X
85 | tendering (DIN 54281) | alkali solubility | DIN 54281 | X | [18 empty] | X
86 | tendering (Koxam) | koxam-moisture expansion | [20 empty] | X
87 | tendering (Krais-Viertel) | "Krais-Viertel" reaction | [20 empty] | X
88 | tendering (swelling test) | immaturity control by swelling test | [20 empty] | X
89 | size qualitative | IR/GC-MS | [16 empty] | X |  |  |  | X
90 | size quantitative (DIN 54285) | extractions petroleum benzine /water/ ammonia - water | DIN 54285 | X | [18 empty] | X
116 | melting point | [19 empty] | X |  | X
91 | sulfur total | IC | [18 empty] | X | X | X
X | determination of silver | ICP-OES | [18 empty] | X |  | X
93 | silicone qualitative | extraction/IR |  | X | [6 empty] | X | [10 empty] | X | X | X
94 | silicone quantitative | digestion | [18 empty] | X |  | X
131 | SMOG | GC-MS | [20 empty] | X
95 | organic bounded nitrogen | Kjeldahl, titrimetric | [20 empty] | X
96 | determination of sublimation | [21 empty] | X | X
186 | determination of sulphide | UV | [18 empty] | X |  | X | X
97 | determination of sulphate | Ionenchromatographie | [18 empty] | X | X | X
171 | Telomer BN (exhaust air) | GC | [20 empty] | X
178 | THPC -free | NMR | [20 empty] | X
98 | titration | potentiometisch |  | X | [16 empty] | X | X | X | X
99 | triclosan | HPLC | [20 empty] | X | X
115 | determination of trimethylamine | GC | [18 empty] | X | X | X | X
100 | solids (105°C) |  |  | X |  | X | X | [7 empty] | X | X |  |  | X |  |  | X | X | X
101 | solids (40°C) |  |  | X | [10 empty] | X | X |  |  | X |  |  | X | X | X
175 | determination of UV on CGL777 at Tinuvin 477DW | UV | [20 empty] | X
103 | measurement of UV |  |  | X | [14 empty] | X |  | X | X | X | X
150 | viscosity | mittels Ubbelohde 1C | [12 empty] | X | X | [5 empty] | X | X | X
136 | determintation of VOC | GC-MS | [18 empty] | (X) | X | X
184 | washing process (deltamethrine) | [21 empty] | X
104 | water content (K.F) | titration (Karl-Fischer ) | [8 empty] | X |  |  |  | X | [5 empty] | X | X | X | X
105 | solubility in water | extractions |  | X | [6 empty] | X | [10 empty] | X | X | X
106 | determination of whiteness (DIN 5033) |  | DIN 5033 Teil 1,2,3,4,5,6,7,8,9 | [6 empty] | X | [12 empty] | X
107 | determination of whiteness (DIN 6167) |  | DIN 6167 | [19 empty] | X
108 | determination of whiteness (DIN 6172) |  | DIN 6172 | [19 empty] | X
109 | determination of whiteness (DIN 6174) |  | DIN 6174 | [19 empty] | X
110 | determination of whiteness (DIN-EN-ISO-JO2) |  | DIN-EN-ISO 105-JO2 | X |  | X | X | [15 empty] | X
111 | iginition temperature | [21 empty] | X

## FR tests
|  |  | COMMERCIAL LABS | [16 empty] | R&T LABS
Specification | End use | Type of test | Liberec | Langweid | Panyu | Shanghai | Bangpoo | Taipei | Mumbai | Charlotte | Santa Clara | Fraijanes | San Pedro Sula | Resede | Bogota | Castelbisball | Gebze | Karachi | Lima | Panyu | Mumbai | Langweid | Panyu | Castelbisball | Lamotte | Gendorf | Charlotte | Resede | Bogota
BS 5438 | home textiles, curtain BS 5867 with old burner (not ISO burner) | vertical, face ignition | [18 empty] | X
BS 5852 part 1 | upholstery | match, cigarette test after soaking |  | X | [17 empty] | O
BS 5852 part 2 | upholstery | flame / crib test after soaking |  | X | [17 empty] | O
EN 597 - 1 | home textiles, mattresses | cigarette test |  | X | [17 empty] | O
EN 597 - 2 | home textiles, mattresses | match test |  | X | [17 empty] | O
EN 1021 - 1 | upholstery | cigarette test after soaking |  | X | [17 empty] | O
EN 1021 - 2 | upholstery | match test after soaking |  | X | [17 empty] | O
MVSS 302 | automotive | horizontal, edge ignition |  | X |  | X |  |  |  | X | [11 empty] | O
NFP 92 - 503 | building material; M1 (Classification); electric bruler | 45°, face ignition
NFP 92 - 504 | building material; M1 (Classification) | vertical, face ignition
FAR 25.853 | aircraft interior; American Test Cabinet (various test) | vertical, edge ignition |  | X | [17 empty] | O
EN 532 | workwear EN 531/EN 533/EN 470-1/ISO 15025 | vertical, face ignition + various other tests |  | X | X |  | X |  | X | [11 empty] | X | O
EN 1101 | home textiles, curtain | vertical, face ignition |  | X | [16 empty] | X | O
EN 1102 | home textiles, curtain | vertical, face ignition |  | X | [16 empty] | X | O
BS 5867 | home textiles, curtain | vertical, face ignition | [19 empty] | O
ISO 6940 | workwear / home textiles | vertical, face ignition |  | X | X | [15 empty] | X | O
ISO 6941 | workwear / home textiles | vertical, face ignition |  | X | X |  |  |  | X | [11 empty] | X | O
DIN 4102 B2 | building material DIN 54336 | vertical, face/ edge ignition |  | X | [17 empty] | O
NF G07-184 | FRENCH ARMY |  |  | X | [17 empty] | O
EN 12952 1/2/3/4 | home textiles |  |  | X | [17 empty] | O
O = Equipment available but limited Lab resources